# GR  NVILLE

County Schools

2010 OSHA SELF AUDIT

CHECKLIST

Researched,

Assembled and Edited By:

Granville County Schools

Sidney B. Moody

Safety/Regulatory Coordinator

PO Box 927 / 106 Hicks Mill

December 2010

Granville County Schools

2010 OSHA SELF AUDIT INSPECTION REPORT

INDEX    										PAGE #

1. SAFETY AND HEALTH PROGRAM 						 2

2. PERSONAL PROTECTIVE EQUIPMENT					 4-5

3. FLAMMABLE AND COMBUSTIBLE MATERIALS 				 6-7

4. HAND TOOLS AND PORTABLE POWER					 8-9

5. LOCK OUT/TAG OUT PROCEDURES						 10

6. CONFINED SPACES								 11-12

7. ELECTRICAL SAFETY 								13-15

8. WALKWAYS, WALKING-WORKING SURFACES 				16-17

9. ELEVATED SURFACES 								18

10. FLOOR AND WALL OPENINGS 						19

11. STAIRS AND STAIRWAYS							 20

12. HAZARD COMMUNICATION 							21-22

13. WORKPLACE VIOLENCE 							23

14. VEHICLES									 24

1

Granville County Schools

2010 OSHA SELF AUDIT INSPECTION REPORT

SELF-INSPECTION CHECKLISTS

These checklist items are by no means all-inclusive. Granville County Schools will add items to these lists if they apply to our operation; however, we will be careful in considering each item and then make appropriate decisions.

SAFETY AND HEALTH PROGRAM

___Do we have an active safety and health program in operation that deals with general safety and health program elements as well as management of hazards specific to our work site?

___Is one person clearly responsible for the overall activities of the safety and health program?

___Do we have a safety committee or group made up of management and labor representatives that meet regularly and reports in writing on its activities?

___Do we have a working procedure for handling in-house employee complaints regarding safety and health?

___Are we keeping our employees advised of the successful effort and accomplishments we and/or our safety committee have made in assuring they will have a workplace that is both safe and healthy?

___Have we considered incentives for employees or workgroups who have excelled in reducing workplace injuries/illnesses?

___Is there a system in place of employee notification of hazards?

___Is there a procedure of conducting accident/incident investigations?

___Is there a medical program in place?

___Do we have ongoing safety and health training?

2

___Do we have training for new hires, both general and job specific?

___Is there a method in place for tracking the training given?

___Is training provided for management, supervisors, and employees?

___Is and evaluation of the safety and health management program conducted at least annually?

___Do we document the results and use them in improve the program?

3

Granville County Schools

2010 OSHA SELF AUDIT INSPECTION REPORT

PERSONAL PROTECTIVE EQUIPMENT (PPE)

29 CFR 1910: 132,133,134,135, & 136

___Are employers assessing the workplace to determine if hazards that require the use of personal protective equipment are present and useable? (i.e. example, head, eye, face, hand, or foot protection)

___If hazards or the likelihood of hazards are found at the worksite, are affected employees given properly fitted personal protective equipment suitable for these hazards?

\

___Has the employer been trained on PPE procedures as to what PPE is necessary for a job task, when it is needed, and how to properly adjust it?

___Are protective goggles or face shields provided and worn where there is any danger of flying particles or corrosive materials?

___Does protective eye equipment used in areas where hazards from flying objects occur have side shields (Clip on, affixed or slide on side shields)?

___Are approved safety glasses required to be worn at all times in areas where there is a risk of eye injuries such as punctures, abrasions, contusions or burns?

___Are employees who need corrective lenses (glasses or contacts) in working environments having harmful exposures, required to wear only approved safety glasses, protective goggles, or use other medically approved precautionary procedures?

___Are protective gloves, aprons, shields, or other means provided and required where employees’ hands are exposed to hazards such as those from skin absorption of harmful substances, severe cuts, abrasions, punctures, chemical and thermal burns and harmful temperature extremes, blood, or other potentially infectious materials?

___Are hard hats provided and worn where there is potential danger for injury to the head from falling objects?

___Are hard hats inspected periodically for damage to the shell and suspension system?

___Is protective footwear worn by employees in areas where there is a danger of foot injuries from hot, corrosive, or poisonous substances, falling and rolling objects, crushing or penetrating the sole or where the employees’ feet are exposed to electrical hazards?

4

Granville County Schools

2010 OSHA SELF AUDIT INSPECTION REPORT

PERSONAL PROTECTIVE EQUIPMENT (PPE)

29 CFR 1910: 132,133,134,135, & 136

___Are approved respirators provided for regular or emergency use where needed?

Is all protective equipment maintained in a sanitary condition and ready for use?

___Do we have eye wash facilities and a quick drench shower within the work area where employees are exposed to injurious corrosive materials?

___Where special equipment is needed for electrical workers, is it available?

___Where food or beverages are consumed on the premises, are they consumed in areas where there is no exposure to toxic material, blood, or other potentially infectious materials?

___Is protection against the effects of occupational noise exposure provided when sound levels exceed those of the OSHA noise standard?

___Are adequate work procedures, protective clothing and equipment provided and used when cleaning up spilled toxic or otherwise hazardous materials or liquids?

___Are there appropriate procedures in place for disposing of or decontaminating personal protective equipment that may be contaminated with blood or other potentially infectious materials?

5

Granville County Schools

2010 OSHA SELF AUDIT INSPECTION REPORT

FLAMMABLE AND COMBUSTIBLE MATERIALS

29 CFR 1910: 106

___Are combustible scraps, debris, and waste materials (oily rags, etc.) stored in covered metal receptacles and removed from the work site promptly?

___Is proper storage practiced to minimize the risk of fire including spontaneous combustion?

___Are approved containers and tanks used for the storage and handling of flammable and combustible liquids?

___Are all connections on drums and combustible liquid piping, vapor and liquid tight?

___Are all flammable liquids kept in closed containers when not in use (for example, parts cleaning tanks, pans, etc.)?

___Are bulk drums of flammable liquids grounded and bonded to containers during dispensing?

___Do storage rooms for flammable and combustible liquids have explosion-proof lights?

___Do storage rooms for flammable and combustible liquids have mechanical or gravity ventilation?

___Is liquefied petroleum gas stored, handled, and used in accordance with safe practices and standards?

___Is "NO SMOKING" signs posted on liquefied petroleum gas tanks?

___Are liquefied petroleum storage tanks guarded to prevent damage from vehicles?

___Are all solvent wastes and flammable liquids kept in fire-resistant, covered containers until they are removed from the work site?

___Is vacuuming used, whenever possible, to collect combustible dust rather than blowing or sweeping?

___Are firm separators placed between containers of combustibles or flammables, when stacked one upon another, to assure their support and stability?

___Are fuel gas cylinders and oxygen cylinders separated by distance, and fire-resistant barriers, while in storage?

6

Granville County Schools

2010 OSHA SELF AUDIT INSPECTION REPORT

FLAMMABLE AND COMBUSTIBLE MATERIALS

29 CFR 1910: 106

___Are fire extinguishers selected and provided for the types of materials or hazards present in areas where they are to be used?

___Class A Ordinary combustible material fires.

___Class B Flammable liquid, gas or grease fires.

___Class C Energized-electrical equipment fires.

___Are appropriate fire extinguishers mounted within 75 feet of outside areas containing flammable liquids, and within 10 feet of any inside storage area for such materials?

___Are extinguishers free from obstructions or blockage?

___Are all extinguishers serviced, and tagged at intervals not to exceed 1 year?

___Are all extinguishers fully charged and in there designated places?

___Where sprinkler systems are permanently installed, are the nozzle heads so directed or arranged that water will not be sprayed into operating electrical switchboards and equipment?

___Are "NO SMOKING" signs posted and rules enforced where appropriate in areas where flammable or combustible materials are used or stored?

___Are safety cans used for dispensing flammable or combustible liquids at a point of use?

___Are all spills of flammable or combustible liquids cleaned up promptly?

___Are storage tanks adequately vented to prevent the development of excessive vacuum or pressure as a result of filling, emptying, or atmosphere temperature changes?

___Are storage tanks equipped with emergency venting that will relieve excessive internal pressure caused by fire exposure?

7

Granville County Schools

2010 OSHA SELF AUDIT INSPECTION REPORT

HAND TOOLS AND PORTABLE POWER

OPERATED TOOLS AND EQUIPMENT

29 CFR 1910: 241, 242, 243 & 244

___Are all tools and equipment (both company and employee owned) used by employees at their workplace in good condition?

___Are hand tools such as chisels and punches, which develop mushroomed heads during use, reconditioned or replaced as necessary?

___Are broken or fractured handles on hammers, axes and similar equipment replaced promptly?

___Are worn or bent wrenches replaced regularly?

___Are appropriate handles used on files and similar tools?

___Are employees made aware of the hazards caused by faulty or improperly used hand tools?

___Are appropriate safety glasses face shields, etc. used while using hand tools or equipment that might produce flying materials or be subject to breakage?

___Are jacks checked periodically to ensure they are in good operating condition?

___Are tool handles wedged tightly in the head of all tools?

___Are tool cutting edges kept sharp so the tool will move smoothly without binding or skipping?

___Are tools stored in dry, secure locations where they won't be tampered with?

___Is eye and face protection used when driving hardened or tempered spuds or nails?

___Are grinders, saws and similar equipment provided with appropriate safety guards?

___Are power tools used with the correct shield, guard, or attachment, recommended by the manufacturer?

___Are portable circular saws equipped with guards above and below the base shoe?

___Are circular saw guards checked to assure they are not wedged up, thus leaving the lower portion of the blade unguarded?

8

Granville County Schools

2010 OSHA SELF AUDIT INSPECTION REPORT

HAND TOOLS AND PORTABLE POWER

OPERATED TOOLS AND EQUIPMENT

29 CFR 1910: 241, 242, 243 & 244

___Are rotating or moving parts of equipment guarded to prevent physical contact?

___Are all cord-connected, electrically operated tools and equipment effectively grounded or of the approved double insulated type?

___Are effective guards in place over belts, pulleys, chains, sprockets, on equipment such as concrete mixers, and air compressors?

___Are portable fans provided with full guards or screens having openings ½ inch or less?

___Is hoisting equipment available and used for lifting heavy objects, and are hoist ratings and characteristics appropriate for the task?

___Are ground-fault circuit interrupters provided on all temporary electrical 15 and 20-ampere circuits, used during periods of construction?

___Are employees who operate power-actuated tools trained in their use and carry a valid operator's card?

___Is each power-actuated tool stored in its own locked container when not being used?

___Is a sign at least 7 inches by 10 inches with bold face type reading "POWER-ACTUATED TOOL IN USE" conspicuously posted when the tool is being used?

___Are power-actuated tools left unloaded until they are actually ready to be used?

___Are power-actuated tools inspected for obstructions or defects each day before use?

___Do power-actuated tool operators have and use appropriate personal protective equipment such as hard hats, safety goggles, safety shoes and ear protectors?

___Are pneumatic and hydraulic hoses on power-operated tools checked regularly for deterioration or damage?

9

Granville County Schools

2010 OSHA SELF AUDIT INSPECTION REPORT

LOCK OUT/TAG OUT PROCEDURES

29 CFR 1910: 147

___Is all machinery or equipment capable of movement, required to be de-energized or disengaged and locked-out during cleaning, servicing, adjusting or setting up operations, whenever required?

___Where the power disconnecting means for equipment does not also disconnect the electrical control circuit, are the appropriate electrical enclosures identified?

___Is means provided to assure the control circuit can also be disconnected and locked-out?

___Is the locking-out of control circuits in lieu of locking-out main power disconnects prohibited?

___Are all equipment control valve handles provided with a means for locking-out?

___Does the lockout procedure require that stored energy (mechanical, hydraulic, air, etc.) be released or blocked before equipment is locked-out for repairs?

___Are appropriate employees provided with individually keyed personal safety locks?

___Are employees required to keep personal control of their key(s) while they have safety locks in use?

___Is it required that only the employee exposed to the hazard, place or remove the safety lock?

___Is it required that employees check the safety of the lock-out by attempting a startup after making sure no one is exposed?

___Are employees instructed to always push the control circuit stop button immediately after checking the safety of the lockout?

___Is there a means provided to identify any or all employees who are working on locked-out equipment by their locks or accompanying tags?

___Are a sufficient number of accident preventive signs or tags and safety padlocks provided for any reasonably foreseeable repair emergency?

___In the event that equipment or lines cannot be shut down, locked-out and tagged, is a safe job procedure established and rigidly followed?

10

Granville County Schools

2010 OSHA SELF AUDIT INSPECTION REPORT

CONFINED SPACES

29 CFR 1915.94

___Are confined spaces thoroughly emptied of any corrosive or hazardous substances, such as acids or caustics, before entry?

___Are all lines to a confined space, containing inert, toxic, flammable, or corrosive materials turned off and blanked or disconnected and separated before entry?

___Are all impellers, agitators, or other moving parts and equipment inside confined spaces locked-out if they present a hazard?

___Is either natural or mechanical ventilation provided prior to confined space entry?

Is adequate illumination provided for the work to be performed in the confined space?

___Are appropriate atmospheric tests performed to check for oxygen deficiency, toxic substances and explosive concentrations in the confined space before entry?

___Is there an assigned safety standby employee outside of the confined space when required, whose sole responsibility is to watch the work in progress, sound an alarm if necessary, and render assistance?

___Is adequate illumination provided for work to be performed in the confined space?

___Is the atmosphere inside the confined space frequently tested or continuously monitored during conduct of work?

___Is the standby employee trained and equipped to handle an emergency?

___Is the standby employee or other employees prohibited from entering the confined space without lifelines and respiratory equipment if there is any question as to the cause of an emergency?

___Is approved respiratory equipment required if the atmosphere inside the confined space cannot be made acceptable

___Is all portable electrical equipment used inside confined spaces either grounded and insulated, or equipped with ground fault protection?

___Before gas welding or burning is started in a confined space, are hoses checked for leaks, compressed gas bottles forbidden inside of the confined space, torches lighted only outside of the confined area and the confined area tested for an explosive atmosphere each time before a lighted torch is to be taken into the confined space?

11

Granville County Schools

2010 OSHA SELF AUDIT INSPECTION REPORT

CONFINED SPACES

29 CFR 1915.94

___If employees will be using oxygen-consuming equipment-such as salamanders, torches, and furnaces, in a confined space-is sufficient air provided to assure combustion without reducing the oxygen concentration of the atmosphere below 19.5 percent by volume?

___Whenever combustion-type equipment is used in a confined space, are provisions made to ensure the exhaust gases are vented outside of the enclosure?

Is each confined space checked for decaying vegetation or animal matter, which may produce methane?

___Is the confined space checked for possible industrial waste, which could contain toxic properties?

12

Granville County Schools

2010 OSHA SELF AUDIT INSPECTION REPORT

ELECTRICAL SAFETY

29 CFR 1910.137, 332, 333, 334, & 335

___Do we specify compliance with OSHA for all contract electrical work?

___Are all employees required to report as soon as practicable any obvious hazard to life or property observed in connection with electrical equipment or lines?

___Are employees instructed to make preliminary inspections and/or appropriate tests to determine what conditions exist before starting work on electrical equipment or lines?

___When electrical equipment or lines are to be serviced, maintained or adjusted, are necessary switches opened, locked-out and tagged whenever possible?

___Are portable electrical tools and equipment grounded or the double insulated type?

___Are electrical appliances such as vacuum cleaners, polishers, and vending machines grounded?

___Are ground-fault circuit interrupters installed on each temporary 15 or 20-ampere, 120 volt AC circuit at locations where construction, demolition, modifications, alterations or excavations are being performed?

___Are multiple plug adapters prohibited?

___Are all temporary circuits protected by suitable disconnecting switches or plug connectors at the junction with permanent wiring?

___Do we have electrical installations in hazardous dust or vapor areas? If so, do they meet the National Electrical Code (NEC) for hazardous locations?

___Is exposed wiring and cords with frayed or deteriorated insulation repaired or replaced promptly?

___Are flexible cords and cables free of splices or taps?

___Are clamps or other securing means provided on flexible cords or cables at plugs, receptacles, tools, equipments, etc., and is the cord jacket securely held in place?

___Are all cord, cable and raceway connections intact and secure?

___In wet or damp locations, are electrical tools and equipment appropriate for the use or location or otherwise protected?

13

Granville County Schools

2010 OSHA SELF AUDIT INSPECTION REPORT

ELECTRICAL SAFETY

29 CFR 1910.137, 332, 333, 334, & 335

___Is the location of electrical power lines and cables (overhead, underground, under floor, other side of walls) determined before digging, drilling or similar work is begun?

___Are all disconnecting switches and circuit breakers labeled to indicate their use or equipment served?

___Are metal measuring tapes, ropes, hand lines or similar devices with metallic thread woven into the fabric prohibited where they could come in contact with energized parts of equipment or circuit conductors?

___Is the use of metal ladders prohibited in areas where the ladder or the person using the ladder could come in contact with energized parts of equipment, fixtures or circuit conductors?

___Are disconnecting means always opened before fuses are replaced?

___Do all interior wiring systems include provisions for grounding metal parts of electrical raceways, equipment and enclosures?

___Are all electrical raceways and enclosures securely fastened in place?

___Are all energized parts of electrical circuits and equipment guarded against accidental contact by approved cabinets or enclosures?

___Is sufficient access and working space provided and maintained about all electrical equipment to permit ready and safe operations and maintenance?

___Are all unused openings (including conduit knockouts) in electrical enclosures and fittings closed with appropriate covers, plugs or plates?

___Are electrical enclosures such as switches, receptacles, and junction boxes, provided with tight fitting covers or plates?

___Are disconnecting switches for electrical motors in excess of two horsepower, capable of opening the circuit when the motor is in a stalled condition, without exploding?

___Is low voltage protection provided in the control device of motors driving machines or equipment, which could cause probable injury from inadvertent starting?

Is each motor disconnecting switch or circuit breaker located within sight of the motor control device?

14

Granville County Schools

2010 OSHA SELF AUDIT INSPECTION REPORT

ELECTRICAL SAFETY

29 CFR 1910.137, 332, 333, 334, & 335

___Is each motor located within sight of its controller or the controller disconnecting means capable of being locked in the open position or is a separate disconnecting means installed in the circuit within sight of the motor?

___Is the controller for each motor in excess of two horsepower, rated in horsepower equal to or in excess of the rating of the motor it serves?

___Are employees who regularly work on or around energized electrical equipment or lines instructed in the cardiopulmonary resuscitation (CPR) methods?

___Are employees prohibited from working alone on energized lines or equipment over 600 volts?

15

Granville County Schools

2010 OSHA SELF AUDIT INSPECTION REPORT

WALKWAYS, WALKING-WORKING SURFACES

GENERAL WORK ENVIRONMENT

29 CFR 1910.22, 23, 24, & 28

___Is a documented, functioning housekeeping program in place?

___Are all work sites clean, sanitary, and orderly?

___Are works surfaces kept dry or are appropriate means taken to assure the surfaces are slip-resistant?

___Are all spilled hazardous materials or liquids, including blood and other potentially infectious materials, cleaned up immediately and according to proper procedures?

___Is combustible scrap, debris and waste stored safely and removed from the work site properly?

___Is all regulated waste, as defined in the OSHA bloodborne pathogens standard (1910.1030), discarded according to federal, state, and local regulations?

___Are accumulations of combustible dust routinely removed from elevated surfaces including the overhead structure of buildings, etc.?

___Is combustible dust cleaned up with a vacuum system to prevent the dust from going into suspension?

___Is metallic or conductive dust prevented from entering or accumulating on or around electrical enclosures or equipment?

___Are covered metal waste cans used for oily and paint-soaked waste?

___Are aisles and passageways kept clear?

___Are aisles and walkways marked as appropriate?

___Are wet surfaces covered with non-slip materials?

___Are holes in the floor, sidewalk or other walking surface repaired properly, covered or otherwise made safe?

___Is there safe clearance for walking in aisles where motorized or mechanical handling equipment is operating?

16

Granville County Schools

2010 OSHA SELF AUDIT INSPECTION REPORT

WALKWAYS, WALKING-WORKING SURFACES

GENERAL WORK ENVIRONMENT

29 CFR 1910.22, 23, 24, & 28

___Are materials or equipment stored in such a way that sharp projectiles will not interfere with the walkway?

___Are stairway handrails located between 30 and 34 inches above the leading edge of stair treads?

___Do stairway handrails have at least 3 inches of clearance between the handrails and the wall or surface they are mounted on?

___Where doors or gates open directly on a stairway, is there a platform provided so the swing of the door does not reduce the width of the platform to less than 21 inches?

___Where stairs or stairways exit directly into any area where vehicles may be operated, are adequate barriers and warnings provided to prevent employees stepping into the path of traffic?

___Do stairway landings have a dimension measured in the direction of travel, at least equal to the width of the stairway?

___Are changes of direction or elevation readily identifiable?

___Are aisles or walkways that pass near moving or operating machinery, welding operations or similar operations arranged so employees will not be subjected to potential hazards?

___Is adequate headroom provided for the entire length of any aisle or walkway?

___Are standard guardrails provided wherever aisle or walkway surfaces are elevated more than 30 inches above any adjacent floor or the ground?

___Are bridges provided over conveyors and similar hazards?

17

Granville County Schools

2010 OSHA SELF AUDIT INSPECTION REPORT

ELEVATED SURFACES

29 CFR 1910.67

___Are signs posted, when appropriate, showing the elevated surface load capacity?

___Are surfaces elevated more than 30 inches above the floor or ground provided with standard guardrails?

___Are all elevated surfaces (beneath which people or machinery could be exposed to falling objects) provided with standard 4-inch toe-boards?

___Is a permanent means of access and egress provided to elevated storage and work surfaces?

___Is required headroom provided where necessary?

___Is material on elevated surfaces piled, stacked or racked in a manner to prevent it from tipping, falling, collapsing, rolling or spreading?

___Are dock boards or bridge plates used when transferring materials between docks and trucks or rail cars?

18

Granville County Schools

2010 OSHA SELF AUDIT INSPECTION REPORT

FLOOR AND WALL OPENINGS

29 CFR 1910.23

___Are spilled materials cleaned up immediately?

___Are floor openings guarded by a cover, a guardrail, or equivalent on all sides (except at entrance to stairways or ladders)?

___Are toe boards installed around the edges of permanent floor openings (where persons may pass below the opening)?

___Are skylight screens of such construction and mounting that they will withstand a load of at least 200 pounds?

___Is the glass in the windows, doors, glass walls, etc., which are subject to human impact, of sufficient thickness and type for the condition of use?

___Are grates or similar type covers over floor openings such as floor drains of such design that foot traffic or rolling equipment will not be affected by the grate spacing?

___Are unused portions of service pits and pits not actually in use either covered or protected by guardrails or equivalent?

___Are manhole covers, trench covers and similar covers, plus their supports designed to carry a truck rear axle load of at least 20,000 pounds when located in roadways and subject to vehicle traffic?

___Are floor or wall openings in fire resistive construction provided with doors or covers compatible with the fire rating of the structure and provided with a self-closing feature when appropriate?

19

Granville County Schools

2010 OSHA SELF AUDIT INSPECTION REPORT

STAIRS AND STAIRWAYS

___Are standard stair rails or handrails on all stairways having four or more risers?

___Are all stairways at least 22 inches wide?

___Do stairs angle no more than 50 and no less than 30 degrees?

___Are step risers on stairs uniform from top to bottom?

___Are steps on stairs and stairways designed or provided with a surface that renders them slip resistant?

___Do stairs have landing platforms not less than 30 inches in the direction of travel and extend 22 inches in width at every 12 feet or less of vertical rise?

20

Granville County Schools

2010 OSHA SELF AUDIT INSPECTION REPORT

HAZARD COMMUNICATION

29 CFR 1910.1200

___Is there a list of hazardous substances used in our workplace?

___Is there a written hazard communication program dealing with Material Safety Data Sheets (MSDS), labeling, and employee training?

___Is each container for a hazardous substance (i.e., vats, bottles, storage tanks, etc.) labeled with product identity and a hazard warning (communication of the specific health hazards and physical hazards)?

___Is there a Material Safety Data Sheet readily available for each hazardous substance used?

Does this program include the following information?

___An explanation of what an MSDS is and how to use and obtain one?

___MSDS contents for each hazardous substance or class of substances?

___An explanation of the "Right to Know” rule?

___Has the employer identified where an employee can see the employers 		written hazard communication program and where hazardous substances 		are present in their work areas?

___Have the physical and health hazards of substances in the work area, 		and specific protective measures to be used been identified?

___Have the details of the hazard communication program, including how to use the labeling system and MSDS's been communicated to the employees?

___Are employees trained in the following areas?

___How to recognize tasks that might result in occupational exposure?

___How to use work practice and engineering controls and personal protective equipment and to know their limitations?

___How to obtain information on the type’s selection, proper use, location, removal handling, decontamination, and disposal of personal protective equipment?

21

2010 OSHA SELF AUDIT INSPECTION REPORT

HAZARD COMMUNICATION

29 CFR 1910.1200

___Who to contact and what to do in an emergency?

___Is there an employee-training program for hazardous substances?

22

Granville County Schools

2010 OSHA SELF AUDIT INSPECTION REPORT

WORKPLACE VIOLENCE

___Are security cameras and mirrors placed in locations that would deter robbers or provide greater security for employees?

___Are there areas in which our employees would be subject to violent acts by customers, uninvited guests or fellow employees?

___Is access and freedom of movement within the workplace restricted to only those who have a legitimate reason for being there?

___Have employees, supervisors, and managers been trained to recognize warning signs of potential workplace violence?

23

Granville County Schools

2010 OSHA SELF AUDIT INSPECTION REPORT

VEHICLES

___Do all employees who drive a company vehicle have their driving records checked on an annual basis?

___Are driver and vehicle files maintained, subject to commercial Driver’s License regulations?

___Is a regular maintenance program in force and documented for all company-owned or leased vehicles?

24